## Slide 1: Chapter 11.3-21.1:Spectroscopic identification of organic compounds
11.3: Analytical techniques can be used to determine the structure of a compound, analyze the composition of a substance, or determine the purity of a compound. Spectroscopic techniques are used in the structural identification of organic and inorganic compounds.
20.1: Although spectroscopic characterization techniques form the backbone of structural identification of compounds, typically no one techniques results in a full structural identification of a molecule

## Slide 2: Analytical techniques
Qualitative analysis: detection of presence but not quantity of substance in mixture
Quantitative analysis: measurement of the quantity of a particular substance in a mixture
Structural analysis: description of how atoms are arranged in molecular structures

## Slide 3: Structural analysis
Mass spectroscopy (MS): used to determine relative atomic & molecular masses. Fragmentation pattern can be “fingerprint”
Infrared spectroscopy (IR): used to identify bonds in a molecule
Nuclear magnetic resonance spectroscopy: used to show chemical environment of isotopes (H, C, P, F)
X-ray diffraction: used to identify atomic and molecular structure of a crystal, in which the crystalline atoms cause a beam of incident X-rays to diffract into many specific directions

## Slide 4: Mass Spectroscopy
Recall from chapter 2
  Mass spect charges the atoms to be + ions and detects specific ions’ mass
Used to find relative molecular mass of compound
If EF is known, molecular formula can be determined

## Slide 5: Mass spectroscopy
Fragmentation patterns
High E e- bombard compound to knock off e- resulting in a cation:
  X(g) + e-  X+(g) + 2e-
Spectra results in fragmentation pattern that can give us a picture of complete molecule

## Slide 6: Mass spectrum of ethanol
Where do these spikes come from?

## Slide 7: Mass spectrum of ethanol

## Slide 8: Mass spectrum of ethanol
Each fragmentation results in 1 ion keeping + charge
For breaking C-C bond, 2 possible outcomes

## Slide 9: Mass spectrum of ethanol
Expected to be able to recognize mass fragments below (not memorize details from section 28 of data booklet)

## Slide 10: Degree of Unsaturation or Index of Hydrogen Deficiency (IHD)
Measure of how many H2 molecules are needed to convert molecule into saturated, non-cyclic molecule

## Slide 11: EM spectrum and identifying organic molecules
EM spectrum is described by wavelength (λ) and frequency (ν)
c= νλ c = speed of light = 3.0 x 108 ms-1
Wavenumber = frequency of radiation is measured in number of waves per centimeter

## Slide 12: EM spectrum and identifying organic molecules
Radio waves – gives info about environment of certain atoms
Infrared radiation – gives info about bonds in a molecule
Visible & UV light – gives info about E levels within atom/molecule
X rays – gives info about molecular and crystal structure

## Slide 13: Infrared (IR) spectroscopy
Chemical bonds are like springs
  Light atoms = vibrate at higher frequencies
  Heavy atoms = vibrate at lower frequencies
IR energy can cause a bond to stretch or bend
Simple diatomics can only vibrate when bond is stretched (H-Cl highest freq, H-I lowest freq.)
Bond must be polar to interact with IR energy

## Slide 14: IR spectroscopy
Use charts like this to determine the kinds of bonds a molecule contains

## Slide 16: Nuclear Magnetic Resonance (NMR) Spectroscopy
Used to find shape & structure of molecules
Atoms w/ odd # protons spin like itty bitty bar magnets
1H, 13C, 19F, 31P

## Slide 17: NMR Spectroscopy
Resonance: Field strength is varied until the radio waves have exact freq. to flip nuclei (spin other way)
  Detected electronically and reported as a spectrum
Non-invasive
  Get sample back

## Slide 18: 1H NMR
Hydrogen nuclei can tell give information about where they are in a molecule
Chemical shift = position of H relative to the standard (section 27 of data booklet)
Tetramethylsilane is the standard
  All H are same

## Slide 20: Interpreting 1H NMR
The two peaks show areas of protons
The height of the peaks show the relative abundance of the peaks (proportional)

## Slide 21: Why tetramethylsilane?
All Hs are the same = 1 signal
Si
  Has lower EN than Carbon
  Si absorbs in a different part of the spectrum than C when bonded to H
Si(CH3)4
  Has low boiling point
  Is chemically inert (non-reactive)
  Is soluble in most organic solvents

## Slide 22: High-resolution 1H NMR
Can show the difference in the spins of nuclei
Right: Hi-res 1H NMR
Below: 1H NMR

## Slide 23: High-resolution 1H NMR
Instead of one signal = 1 energy difference
  2 signals are produced
Both are likely & have same intensity

## Slide 24: High-resolution 1H NMR
Protons bonded to same atom do not interact with each other (behave as group)
Protons on non-adjacent carbons do not typically interact with each other
The O-H single peak is ethanol does not split unless sample is pure
So the different possible positions in the -CH3 in ethanal leads to 4 actual signals (CHO is affected by –CH3)

## Slide 25: X-ray Diffraction
X-rays are passed through a crystal
  Scattered pattern of light is orderly based on interactions of e- in substance
  Called a diffraction pattern

## Slide 26: X-ray Diffraction: Interference
Constructive interference
  Waves reinforce each other
  Produces a high intensity region on screen
Destructive interference
  Waves cancel each other
  Produces a region of low intensity on screen

## Slide 28: X-ray Diffraction
Monochromatic X-rays used
Sample in solid state
Diffraction pattern is based upon
  Wavelength of incident radiation
  Inter atomic distance
  Relative atomic orientation
  Angle of incidence

## Slide 29: X-ray Diffraction
Contour lines connect points with the same electron density